## 153_19B
S&C Power Fuses - Type SMD-1A (10E thru 100E) and SMD-2B (3E thru 250E) (115 and 138 kV) | [9 empty] | S&C Power Fuses - Type SMD-1A (10E thru 100E) and SMD-2B (3E thru 250E) (115 and 138 kV) | [9 empty] | S&C Power Fuses - Type SMD-1A (10E thru 100E) and SMD-2B (3E thru 250E) (115 and 138 kV) | [9 empty] | S&C Power Fuses - Type SMD-1A (10E thru 100E) and SMD-2B (3E thru 250E) (115 and 138 kV)
Standard Speed (TCC 153-1-9) | [9 empty] | Standard Speed (TCC 153-1-9) | [9 empty] | Standard Speed (TCC 153-1-9) | [9 empty] | Standard Speed (TCC 153-1-9)
Total Clearing Time-Current Characteristic Curves Dated August 29, 1988 | [9 empty] | Total Clearing Time-Current Characteristic Curves Dated August 29, 1988 | [9 empty] | Total Clearing Time-Current Characteristic Curves Dated August 29, 1988 | [9 empty] | Total Clearing Time-Current Characteristic Curves Dated August 29, 1988
Tolerance: Curves are plotted to maximum test points. All variations are minus. | [9 empty] | Tolerance: Curves are plotted to maximum test points. All variations are minus. | [9 empty] | Tolerance: Curves are plotted to maximum test points. All variations are minus. | [9 empty] | Tolerance: Curves are plotted to maximum test points. All variations are minus.
3E |  | 5E |  | 7E |  | 10E |  | 13E |  | 15E |  | 20E |  | 25E |  | 30E |  | 40E |  | 50E |  | 65E |  | 80E |  | 100E |  | 125E |  | 150E |  | 175E |  | 200E |  | 250E
Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time
9995.88 | 0.051295 | 9995.88 | 0.051397 | 9995.88 | 0.051397 | 9995.88 | 0.051397 | 9995.88 | 0.051397 | 9995.88 | 0.051397 | 9995.88 | 0.0515 | 9995.88 | 0.051603 | 9995.88 | 0.051603 | 9995.88 | 0.05181 | 9995.88 | 0.052018 | 9995.88 | 0.052488 | 9995.88 | 0.053228 | 9995.88 | 0.054304 | 10026.7 | 0.055896 | 10038.2 | 0.057452 | 10026.7 | 0.059698 | 10043.9 | 0.061854 | 10029.3 | 0.066057
7894.55 | 0.053602 | 7777.02 | 0.053817 | 7902.45 | 0.053602 | 7707.34 | 0.053925 | 7870.9 | 0.053709 | 7973.89 | 0.053602 | 8291.02 | 0.053335 | 7179.09 | 0.055014 | 7331.45 | 0.054794 | 7784.8 | 0.054521 | 8241.42 | 0.054141 | 7738.23 | 0.05579 | 7222.3 | 0.058067 | 8282.73 | 0.057374 | 9296.72 | 0.05742 | 9101.8 | 0.060041 | 9275.44 | 0.06189 | 9328.72 | 0.063759 | 8720.59 | 0.072762
6335.53 | 0.05579 | 6278.76 | 0.055901 | 6412.01 | 0.055734 | 6278.76 | 0.055957 | 6444.15 | 0.05579 | 6548.09 | 0.055623 | 6856.33 | 0.055345 | 5749.85 | 0.057489 | 5901.3 | 0.057259 | 6354.56 | 0.056803 | 6808.51 | 0.056463 | 6303.93 | 0.058768 | 5796.03 | 0.062401 | 6849.48 | 0.061288 | 7969.39 | 0.061115 | 7221.81 | 0.067245 | 7910.28 | 0.068097 | 8038.15 | 0.069793 | 7343.17 | 0.083185
4773.94 | 0.058768 | 4783.5 | 0.058768 | 4914.42 | 0.058474 | 4846.09 | 0.058709 | 5013.69 | 0.058474 | 5114.98 | 0.058299 | 5425.84 | 0.057893 | 4319.64 | 0.060983 | 4469.04 | 0.0608 | 4924.25 | 0.060195 | 5377.23 | 0.059715 | 4875.26 | 0.063535 | 4363.06 | 0.069797 | 5420.42 | 0.067396 | 6634.93 | 0.065987 | 5736.71 | 0.077278 | 5957.69 | 0.081502 | 6533.13 | 0.080207 | 6254.59 | 0.09614
3216.11 | 0.063218 | 3287.65 | 0.063029 | 3418.4 | 0.062589 | 3418.4 | 0.06284 | 3582.9 | 0.062401 | 3688.33 | 0.06209 | 3999.51 | 0.061534 | 2889.76 | 0.066993 | 3037.92 | 0.066659 | 3494.44 | 0.065667 | 3947.86 | 0.064883 | 3445.86 | 0.072428 | 4306.7 | 0.070217 | 5339.72 | 0.068006 | 5312.94 | 0.073693 | 4606.86 | 0.090553 | 4748.83 | 0.097268 | 5389.55 | 0.094362 | 5039.34 | 0.11983
1655.61 | 0.071421 | 1793.51 | 0.070639 | 1925.47 | 0.069867 | 1988.09 | 0.069797 | 2151.52 | 0.069102 | 2257.31 | 0.068827 | 2568.12 | 0.067802 | 1458.16 | 0.082979 | 1608.29 | 0.081744 | 2065.09 | 0.07846 | 2517.26 | 0.076065 | 3397.95 | 0.072937 | 4179.42 | 0.071136 | 5202.68 | 0.068827 | 4520.61 | 0.081362 | 3617.82 | 0.11359 | 3541.97 | 0.12927 | 4497.37 | 0.11223 | 4257.99 | 0.1469
95.1004 | 0.1304 | 299.146 | 0.10762 | 430.063 | 0.10125 | 558.319 | 0.097085 | 721.932 | 0.093092 | 826.278 | 0.090975 | 1137.89 | 0.086452 | 1425 | 0.083729 | 1579.6 | 0.0824 | 2034.34 | 0.079011 | 2487.24 | 0.076446 | 3277.8 | 0.074039 | 3896.87 | 0.073596 | 5028.76 | 0.069867 | 3996.9 | 0.088706 | 2873.84 | 0.14771 | 2863.99 | 0.16724 | 3727.18 | 0.13901 | 3480.18 | 0.19266
92.9381 | 0.13145 | 294.398 | 0.10827 | 420.284 | 0.10217 | 545.079 | 0.097865 | 711.895 | 0.093559 | 813.976 | 0.091523 | 1110.9 | 0.087234 | 1344.7 | 0.085849 | 1535.99 | 0.083312 | 1978.17 | 0.079965 | 2428.25 | 0.077292 | 3161.9 | 0.075233 | 3582.9 | 0.076753 | 4788.29 | 0.071635 | 3438.04 | 0.10061 | 2295.97 | 0.19914 | 2358.61 | 0.21861 | 3200.53 | 0.16868 | 2821.72 | 0.2639
89.0265 | 0.1333 | 284.556 | 0.10957 | 403.401 | 0.10381 | 526.858 | 0.099245 | 685.351 | 0.094783 | 787.553 | 0.092721 | 1075.91 | 0.088375 | 1266.39 | 0.088198 | 1477.24 | 0.08474 | 1896.81 | 0.081417 | 2351.78 | 0.078382 | 3037.92 | 0.076599 | 3327.34 | 0.079965 | 4554.76 | 0.073522 | 2976.01 | 0.11542 | 1802.02 | 0.28591 | 1926.9 | 0.29692 | 2584.94 | 0.22637 | 2298.35 | 0.37028
83.9259 | 0.13613 | 275.044 | 0.11101 | 381.431 | 0.10602 | 508.737 | 0.10054 | 665.096 | 0.096119 | 755.917 | 0.094405 | 1042.03 | 0.089531 | 1158.55 | 0.091982 | 1405.19 | 0.086625 | 1813.34 | 0.083228 | 2266.35 | 0.079805 | 2924.64 | 0.078147 | 3065.38 | 0.083981 | 4166.9 | 0.077292 | 2524.95 | 0.13854 | 1498.56 | 0.38878 | 1546.51 | 0.43022 | 2195.67 | 0.28986 | 1930.9 | 0.50431
79.4346 | 0.13874 | 263.204 | 0.11291 | 360.298 | 0.10848 | 491.239 | 0.10196 | 641.578 | 0.097572 | 719.769 | 0.096408 | 998.177 | 0.091249 | 1078.07 | 0.095544 | 1316.76 | 0.089263 | 1714.59 | 0.085421 | 2181.85 | 0.081174 | 2710.61 | 0.081336 | 2795.95 | 0.089174 | 3889.08 | 0.080527 | 2026.5 | 0.18349 | 1183.59 | 0.58837 | 1285.34 | 0.6013 | 1865.02 | 0.37759 | 1644.65 | 0.68176
74.2126 | 0.14225 | 247.629 | 0.11577 | 336.276 | 0.11179 | 452.565 | 0.10559 | 612.734 | 0.099444 | 674.473 | 0.099245 | 944.76 | 0.093559 | 987.257 | 0.10004 | 1232.66 | 0.092258 | 1598.67 | 0.088463 | 2081.67 | 0.083145 | 2524.83 | 0.084655 | 2601.72 | 0.093652 | 3586.49 | 0.084825 | 1743.15 | 0.22715 | 960.336 | 0.86679 | 1057.32 | 0.87376 | 1631.11 | 0.4769 | 1374.6 | 0.97481
68.7127 | 0.14688 | 235.316 | 0.11822 | 299.146 | 0.11822 | 418.188 | 0.10957 | 580.524 | 0.10176 | 616.422 | 0.10361 | 895.096 | 0.096023 | 912.265 | 0.10486 | 1145.88 | 0.096023 | 1427.85 | 0.094122 | 1958.49 | 0.085849 | 2337.71 | 0.088552 | 2442.87 | 0.098356 | 3337.34 | 0.089174 | 1456.26 | 0.29879 | 755.892 | 1.4147 | 912.614 | 1.1908 | 1423.28 | 0.61382 | 1128.02 | 1.5049
64.1314 | 0.1515 | 219.408 | 0.12195 | 268.522 | 0.12516 | 386.036 | 0.11393 | 549.457 | 0.10444 | 573.026 | 0.10762 | 842.127 | 0.098948 | 845.502 | 0.11012 | 1058.84 | 0.10044 | 1303.65 | 0.099543 | 1853.68 | 0.088287 | 2106.81 | 0.094783 | 2291.42 | 0.1034 | 3016.73 | 0.096312 | 1246.91 | 0.38545 | 657.315 | 1.9559 | 779.634 | 1.7068 | 1258.39 | 0.77482 | 971.316 | 2.1927
59.26 | 0.1569 | 205.189 | 0.12591 | 237.444 | 0.13477 | 351.402 | 0.11977 | 507.213 | 0.1087 | 535.891 | 0.11167 | 784.409 | 0.10278 | 779.717 | 0.11658 | 988.245 | 0.10475 | 1198.62 | 0.10517 | 1733.55 | 0.09189 | 1927.4 | 0.10115 | 2136.51 | 0.10957 | 2759.84 | 0.10371 | 1046.47 | 0.52114 | 564.437 | 2.898 | 685.77 | 2.3517 | 1073.79 | 1.0681 | 841.671 | 3.3427
53.6206 | 0.16494 | 190.363 | 0.13079 | 212.285 | 0.14483 | 317.962 | 0.12705 | 471.506 | 0.11314 | 492.715 | 0.1174 | 728.459 | 0.1073 | 708.345 | 0.12529 | 904.996 | 0.11123 | 1110.9 | 0.11123 | 1645.71 | 0.094783 | 1730.09 | 0.11001 | 1964.37 | 0.11822 | 2469.89 | 0.11439 | 920.488 | 0.65633 | 493.364 | 4.4924 | 585.508 | 3.73 | 947.226 | 1.4042 | 749.24 | 5.2738
48.8588 | 0.17357 | 176.431 | 0.1364 | 187.341 | 0.15879 | 289.146 | 0.13531 | 440.069 | 0.11764 | 447.167 | 0.12504 | 674.473 | 0.11257 | 655.849 | 0.1333 | 830.419 | 0.11846 | 1019.36 | 0.1187 | 1532.92 | 0.099344 | 1559.2 | 0.12037 | 1795.3 | 0.12884 | 2273.16 | 0.12416 | 792.236 | 0.86679 | 455.091 | 6.5355 | 535.775 | 5.2883 | 814.783 | 2.015 | 698.648 | 7.9984
45.2378 | 0.18192 | 160.763 | 0.14411 | 170.193 | 0.17184 | 263.995 | 0.14426 | 398.589 | 0.12504 | 398.988 | 0.13572 | 634.559 | 0.11728 | 606.031 | 0.14282 | 753.652 | 0.12782 | 932.557 | 0.12807 | 1461.07 | 0.10268 | 1427.85 | 0.13079 | 1670.58 | 0.13874 | 2046.59 | 0.13846 | 677.572 | 1.1732 | 430.007 | 9.4481 | 491.39 | 8.7858 | 733.294 | 2.6733 | 657.85 | 13.679
41.5931 | 0.19202 | 147.515 | 0.15226 | 151.856 | 0.1903 | 240.791 | 0.15503 | 365.743 | 0.13277 | 353.871 | 0.14895 | 595.816 | 0.12231 | 540.736 | 0.15895 | 686.723 | 0.1386 | 856.566 | 0.13819 | 1391.21 | 0.10644 | 1308.88 | 0.14325 | 1565.45 | 0.14895 | 1879.81 | 0.15226 | 631.486 | 1.3537 | 411.693 | 14.2088 | 464.571 | 15.1147 | 668.706 | 3.559 | 633.071 | 21.9675
37.635 | 0.20615 | 130.442 | 0.1666 | 139.342 | 0.20697 | 219.847 | 0.16727 | 330.607 | 0.14296 | 315.428 | 0.16511 | 551.66 | 0.12936 | 494.195 | 0.17479 | 641.578 | 0.14761 | 778.938 | 0.1515 | 1322.03 | 0.11056 | 1196.23 | 0.158 | 1425 | 0.16593 | 1719.74 | 0.16962 | 549.132 | 1.8524 | 395.515 | 21.9257 | 447.852 | 23.8365 | 619.663 | 4.7407 | 619.434 | 34.2636
34.7067 | 0.21933 | 115.923 | 0.1832 | 123.462 | 0.23594 | 201.528 | 0.18102 | 296.169 | 0.15674 | 283.137 | 0.18357 | 497.17 | 0.14069 | 453.925 | 0.19144 | 600.001 | 0.15753 | 712.608 | 0.1661 | 1240.07 | 0.11646 | 1093.27 | 0.17567 | 1315.44 | 0.18302 | 1578.02 | 0.18916 | 481.914 | 2.5669 | 383.251 | 36.6983 | 435.21 | 40.6571 | 572.576 | 7.1132 | 609.923 | 53.4119
31.8149 | 0.23594 | 103.33 | 0.20267 | 108.628 | 0.27358 | 186.034 | 0.1957 | 268.253 | 0.17116 | 251.371 | 0.20801 | 460.324 | 0.1506 | 421.126 | 0.20947 | 547.811 | 0.1734 | 642.22 | 0.1869 | 1180.78 | 0.12122 | 952.348 | 0.20843 | 1211.88 | 0.20227 | 1425 | 0.21693 | 423.894 | 3.6833 | 374.357 | 61.6705 | 428.287 | 71.0344 | 542.257 | 10.4015 | 603.664 | 79.491
28.8449 | 0.25765 | 92.6597 | 0.22511 | 97.8987 | 0.31187 | 171.903 | 0.21221 | 245.656 | 0.18653 | 230.426 | 0.23012 | 416.935 | 0.16544 | 390.697 | 0.22943 | 512.823 | 0.18616 | 583.434 | 0.2101 | 1117.59 | 0.12743 | 867.774 | 0.23642 | 1097.65 | 0.23081 | 1301.05 | 0.2473 | 385.673 | 5.2013 | 367.981 | 102.28 | 423.894 | 142.055 | 522.443 | 15.3764 | 597.812 | 120.696
26.8948 | 0.27633 | 83.6745 | 0.25078 | 88.1406 | 0.35946 | 156.794 | 0.23524 | 226.089 | 0.20308 | 211.438 | 0.25611 | 384.495 | 0.17958 | 354.579 | 0.25972 | 473.395 | 0.20471 | 533.752 | 0.23547 | 1049.35 | 0.13545 | 791.501 | 0.26951 | 977.434 | 0.27249 | 1198.62 | 0.28023 | 361.091 | 7.4678 | 364.415 | 162.784 | 421.715 | 260.565 | 512.075 | 21.2707 | 596.785 | 173.268
24.6046 | 0.30356 | 72.2357 | 0.29785 | 78.9594 | 0.42014 | 145.755 | 0.25662 | 207.044 | 0.22399 | 195.572 | 0.28332 | 352.811 | 0.19708 | 333.596 | 0.28276 | 436.999 | 0.22601 | 485.38 | 0.26736 | 991.214 | 0.14311 | 729.188 | 0.30417 | 886.19 | 0.31564 | 1128.82 | 0.30723 | 340.213 | 11.412 | 361.92 | 259.672 | 423.167 | 443.167 | 501.913 | 32.0619 | 596.785 | 256.544
22.6222 | 0.33448 | 61.9876 | 0.36307 | 70.1008 | 0.5025 | 134.684 | 0.28332 | 188.657 | 0.25078 | 173.284 | 0.33348 | 324.061 | 0.21737 | 310.732 | 0.31156 | 404.613 | 0.24928 | 442.275 | 0.30478 | 902.285 | 0.15768 | 680.57 | 0.33751 | 795.468 | 0.37263 | 1065.21 | 0.33785 | 325.91 | 17.5397 | 359.441 | 386.292 | 424.137 | 593.031 | 494.212 | 46.8303 | 596.443 | 380.933
20.4081 | 0.37864 | 55.2536 | 0.42564 | 62.9874 | 0.59383 | 123.956 | 0.31469 | 168.162 | 0.2905 | 153.382 | 0.39965 | 297.356 | 0.24143 | 286.269 | 0.35023 | 374.627 | 0.27716 | 389.916 | 0.36893 | 840.444 | 0.17014 | 641.578 | 0.37077 | 727.731 | 0.42863 | 1005.18 | 0.373 | 316.166 | 26.0625 | 358.208 | 522.276 |  |  | 488.864 | 69.2284 | 595.76 | 501.026
18.8203 | 0.42183 | 50.2462 | 0.48814 | 55.5306 | 0.72967 | 115.576 | 0.34605 | 150.194 | 0.33886 | 140.321 | 0.45696 | 273.672 | 0.26843 | 261.892 | 0.40045 | 351.051 | 0.30417 | 362.829 | 0.41389 | 788.341 | 0.18339 | 597.008 | 0.41638 | 686.037 | 0.47324 | 952.348 | 0.41059 | 306.714 | 47.153 | 358.413 | 594.39 |  |  | 484.127 | 111.066 | 597.127 | 591.783
17.6712 | 0.46155 | 46.2904 | 0.55202 | 50.1458 | 0.86748 | 106.797 | 0.38629 | 138.786 | 0.37864 | 127.222 | 0.53571 | 245.901 | 0.31032 | 241.515 | 0.45422 | 323.737 | 0.34158 | 337.286 | 0.46433 | 725.551 | 0.20308 | 561.679 | 0.45742 | 649.973 | 0.51419 | 880.888 | 0.47041 | 302.008 | 84.2433 |  |  |  |  | 481.638 | 211.929
16.6421 | 0.50552 | 43.2905 | 0.61375 | 45.2378 | 1.0324 | 98.7838 | 0.43294 | 130.182 | 0.41513 | 119.933 | 0.58733 | 217.877 | 0.36782 | 212.498 | 0.55646 | 303.06 | 0.37826 | 320.516 | 0.50653 | 667.094 | 0.22624 | 531.09 | 0.5015 | 616.422 | 0.56374 | 832.082 | 0.52196 | 300.799 | 130.743 |  |  |  |  | 481.638 | 345.106
15.6729 | 0.55813 | 40.8511 | 0.6729 | 42.0111 | 1.1804 | 90.6435 | 0.49304 | 123.215 | 0.44971 | 112.948 | 0.64265 | 197.933 | 0.42607 | 192.276 | 0.6576 | 274.22 | 0.44212 | 305.494 | 0.54927 | 577.629 | 0.27523 | 509.246 | 0.53947 | 587.532 | 0.61437 | 784.409 | 0.5844 | 299.596 | 207.845 |  |  |  |  | 481.087 | 521.38
14.8045 | 0.6156 | 38.5492 | 0.73774 | 39.4855 | 1.319 | 83.5073 | 0.55981 | 116.971 | 0.48765 | 106.69 | 0.7074 | 175.727 | 0.51419 | 175.551 | 0.76632 | 253.644 | 0.5025 | 294.103 | 0.58792 | 504.179 | 0.3365 | 489.768 | 0.57975 | 551.66 | 0.68924 | 740.208 | 0.65301 | 298.739 | 327.781 |  |  |  |  | 481.363 | 595.752
14.2098 | 0.6662 | 35.8712 | 0.8318 | 37.3351 | 1.4708 | 78.5656 | 0.61806 | 111.044 | 0.52985 | 98.3895 | 0.81208 | 157.108 | 0.6193 | 161.569 | 0.88324 | 231.119 | 0.58499 | 278.086 | 0.64781 | 457.113 | 0.39135 | 470.564 | 0.62054 | 521.094 | 0.76708 | 701.998 | 0.72386 | 298.91 | 511.04
13.5033 | 0.73701 | 33.4795 | 0.93411 | 35.979 | 1.5791 | 74.8087 | 0.67425 | 104.682 | 0.58149 | 92.7524 | 0.90289 | 143.299 | 0.72169 | 150.796 | 0.99784 | 211.438 | 0.6783 | 267.182 | 0.69756 | 409.498 | 0.46853 | 440.509 | 0.70106 | 490.258 | 0.86402 | 669.768 | 0.796 | 299.082 | 590.322
12.7934 | 0.826 | 31.6562 | 1.0293 | 34.4991 | 1.7174 | 69.7511 | 0.75642 | 99.5772 | 0.63055 | 85.9644 | 1.0324 | 129.144 | 0.86748 | 140.883 | 1.1364 | 188.657 | 0.82765 | 257.735 | 0.74516 | 381.813 | 0.52721 | 417.77 | 0.77712 | 461.246 | 0.97515 | 626.364 | 0.91378
11.9763 | 0.95584 | 29.664 | 1.1524 | 33.246 | 1.8494 | 65.8207 | 0.83681 | 93.7783 | 0.69756 | 82.0176 | 1.1296 | 120.173 | 0.98791 | 131.358 | 1.2941 | 173.457 | 0.97029 | 246.887 | 0.80803 | 361.38 | 0.57743 | 389.526 | 0.89211 | 439.19 | 1.0777 | 597.606 | 1.0099
11.4036 | 1.081 | 27.2467 | 1.3376 | 31.9744 | 2.0114 | 62.423 | 0.91653 | 86.309 | 0.804 | 77.5508 | 1.2559 | 112.835 | 1.1105 | 123.092 | 1.4708 | 163.847 | 1.082 | 234.611 | 0.89033 | 343.756 | 0.62866 | 367.576 | 1.0028 | 424.084 | 1.1628 | 561.679 | 1.1593
10.9128 | 1.2163 | 25.4047 | 1.5187 | 30.8746 | 2.1681 | 58.7878 | 1.0262 | 79.9126 | 0.91928 | 73.3274 | 1.4005 | 106.264 | 1.2409 | 116.855 | 1.6353 | 153.843 | 1.2273 | 221.391 | 1.0008 | 330.277 | 0.67695 | 347.558 | 1.1239 | 407.863 | 1.2723 | 530.559 | 1.3176
10.4744 | 1.3714 | 23.9013 | 1.697 | 29.7234 | 2.351 | 56.1448 | 1.1217 | 74.5846 | 1.0417 | 70.2411 | 1.5293 | 101.588 | 1.3591 | 109.939 | 1.8679 | 145.319 | 1.3797 | 208.29 | 1.133 | 314.169 | 0.74144 | 327.318 | 1.2749 | 395.018 | 1.3591 | 504.179 | 1.4841
10.1141 | 1.5248 | 22.6902 | 1.8679 | 28.7873 | 2.5341 | 53.7817 | 1.2212 | 69.8908 | 1.1757 | 66.7486 | 1.7038 | 96.5377 | 1.5051 | 104.682 | 2.0706 | 136.993 | 1.5665 | 198.528 | 1.2534 | 297.952 | 0.81778 | 310.111 | 1.4345 | 382.195 | 1.4621 | 485.865 | 1.6174
9.8054 | 1.6902 | 21.6268 | 2.048 | 27.6862 | 2.7617 | 51.6729 | 1.319 | 65.5579 | 1.3269 | 63.3664 | 1.9076 | 92.9381 | 1.6239 | 98.9816 | 2.3533 | 130.703 | 1.7347 | 190.363 | 1.3687 | 283.988 | 0.8948 | 296.466 | 1.5838 | 367.209 | 1.6078 | 472.45 | 1.7364
9.4021 | 1.9461 | 20.7788 | 2.2207 | 26.5475 | 3.0521 | 49.6965 | 1.4288 | 62.1738 | 1.4723 | 60.4571 | 2.1167 | 89.1155 | 1.7804 | 93.3106 | 2.6935 | 124.453 | 1.9403 | 183.081 | 1.4991 | 268.79 | 0.99485 | 282.289 | 1.7857 | 354.579 | 1.7539 | 456.2 | 1.9076
9.1334 | 2.1616 | 19.8844 | 2.4323 | 25.532 | 3.3396 | 47.6048 | 1.5587 | 58.8466 | 1.6452 | 57.7391 | 2.3604 | 85.5357 | 1.9442 | 89.8313 | 2.9531 | 118.739 | 2.1789 | 176.255 | 1.6337 | 256.706 | 1.0896 | 270.678 | 1.9755 | 342.041 | 1.9152 | 439.629 | 2.0977
8.8901 | 2.4226 | 19.1429 | 2.6428 | 24.6292 | 3.6504 | 45.1023 | 1.7312 | 55.8089 | 1.8328 | 55.1984 | 2.6375 | 81.2827 | 2.1833 | 85.1091 | 3.3765 | 113.061 | 2.4617 | 170.875 | 1.7645 | 244.675 | 1.1982 | 263.204 | 2.1251 | 330.607 | 2.0872 | 421.126 | 2.3533
8.7141 | 2.6801 | 18.3739 | 2.9004 | 23.8536 | 3.9743 | 43.2905 | 1.8981 | 53.1402 | 2.0296 | 52.7695 | 2.956 | 77.4733 | 2.4445 | 80.7158 | 3.8917 | 108.086 | 2.7507 | 165.163 | 1.9171 | 232.742 | 1.3309 | 254.66 | 2.3206 | 318.28 | 2.3114 | 407.048 | 2.5879
8.5074 | 3.043 | 17.742 | 3.1482 | 23.1717 | 4.2838 | 41.2204 | 2.1019 | 50.4475 | 2.2656 | 50.8527 | 3.2767 | 73.8425 | 2.7315 | 76.3199 | 4.5442 | 103.641 | 3.089 | 160.442 | 2.05 | 223.616 | 1.4606 | 246.887 | 2.5443 | 304.884 | 2.5957 | 393.835 | 2.8486
8.3223 | 3.4413 | 17.166 | 3.407 | 22.0858 | 4.8932 | 39.3279 | 2.3299 | 47.9392 | 2.5366 | 48.6637 | 3.7167 | 71.018 | 3.0157 | 73.6213 | 5.0675 | 99.7766 | 3.4447 | 155.233 | 2.2453 | 212.71 | 1.6337 | 239.83 | 2.7617 | 295.873 | 2.8515 | 379.909 | 3.1577
8.1331 | 4.0022 | 16.5425 | 3.7279 | 21.3902 | 5.3808 | 37.7858 | 2.5468 | 45.3284 | 2.8859 | 46.99 | 4.1572 | 68.3016 | 3.3396 | 71.018 | 5.668 | 96.1523 | 3.8491 | 150.345 | 2.4396 | 204.574 | 1.7893 | 231.581 | 3.046 | 284.272 | 3.2086 | 368.681 | 3.4689
8.012 | 4.508 | 15.9098 | 4.12 | 20.7788 | 5.8817 | 35.9071 | 2.8572 | 43.5511 | 3.199 | 45.3738 | 4.6639 | 65.1657 | 3.7956 | 68.5069 | 6.3907 | 93.2173 | 4.2795 | 144.739 | 2.7043 | 196.749 | 1.9657 | 224.512 | 3.3462 | 277.531 | 3.5108 | 359.578 | 3.7842
7.869 | 5.1595 | 15.3319 | 4.5487 | 20.2455 | 6.3779 | 34.6374 | 3.1014 | 41.8016 | 3.5354 | 43.7694 | 5.2637 | 62.9244 | 4.1739 | 66.3493 | 7.1911 | 90.5529 | 4.7724 | 139.621 | 3.0127 | 189.792 | 2.1551 | 216.357 | 3.713 | 268.522 | 3.9308 | 349.999 | 4.1697
7.7596 | 5.923 | 14.9085 | 4.9177 | 19.7062 | 6.9855 | 33.513 | 3.3496 | 40.1224 | 3.9269 | 42.1373 | 5.9885 | 60.9427 | 4.5898 | 64.5173 | 8.0514 | 88.1406 | 5.3433 | 134.28 | 3.3866 | 181.623 | 2.4226 | 209.543 | 4.1241 | 263.995 | 4.2795 | 343.412 | 4.5034
7.6441 | 6.7927 | 14.4535 | 5.4132 | 19.2774 | 7.5598 | 32.5551 | 3.5925 | 38.5106 | 4.366 | 40.7695 | 6.7791 | 58.7878 | 5.1338 | 62.8615 | 9.0056 | 85.4502 | 6.0912 | 128.757 | 3.8568 | 173.457 | 2.7452 | 204.984 | 4.4765 | 257.735 | 4.7391 | 336.276 | 4.9226
7.5378 | 7.6971 | 14.0403 | 5.9527 | 18.8203 | 8.2966 | 31.4668 | 3.8995 | 37.0376 | 4.8639 | 39.525 | 7.6511 | 57.2217 | 5.6285 | 60.9427 | 10.3381 | 83.3404 | 6.9022 | 125.202 | 4.2752 | 166.157 | 3.089 | 199.923 | 4.8981 | 252.884 | 5.201 | 329.287 | 5.4024
7.4479 | 8.8273 | 13.6526 | 6.6183 | 18.3923 | 9.0961 | 30.3845 | 4.2838 | 35.9071 | 5.3007 | 38.5106 | 8.5749 | 55.6418 | 6.2267 | 59.557 | 11.7852 | 80.7965 | 8.2305 | 122.355 | 4.6685 | 160.121 | 3.4655 | 195.572 | 5.3433 | 248.373 | 5.7883 | 322.122 | 5.9885
7.3738 | 10.2969 | 13.4091 | 7.1195 | 18.0823 | 9.9031 | 29.3982 | 4.6872 | 35.0556 | 5.6567 | 37.5222 | 9.6393 | 54.1595 | 6.8267 | 58.6703 | 13.2612 | 78.6442 | 9.7556 | 119.693 | 5.1958 | 154.768 | 3.8607 | 191.126 | 5.9408 | 243.211 | 6.5328 | 316.692 | 6.5459
7.3078 | 12.3276 | 13.078 | 7.8841 | 17.7597 | 10.7924 | 28.4439 | 5.1595 | 34.19 | 6.0973 | 36.6691 | 10.7064 | 52.8223 | 7.5221 | 57.5661 | 15.3612 | 76.5492 | 11.797 | 117.206 | 5.829 | 150.495 | 4.2074 | 187.341 | 6.5263 | 237.206 | 7.4921 | 311.043 | 7.2055
7.2423 | 14.7884 | 12.7296 | 8.7744 | 17.4953 | 11.7264 | 27.274 | 5.7941 | 33.4126 | 6.5853 | 36.051 | 11.9036 | 51.6213 | 8.2883 | 56.5392 | 18.2077 | 74.6592 | 14.2655 | 114.312 | 6.6316 | 147.515 | 4.5351 | 183.448 | 7.2706 | 232.742 | 8.4557 | 304.884 | 7.9553
7.1918 | 17.6343 | 12.4526 | 9.7752 | 17.2866 | 12.8821 | 26.5475 | 6.2893 | 32.751 | 7.0558 | 35.5143 | 13.1424 | 50.7004 | 9.087 | 55.6418 | 22.1723 | 72.9616 | 17.8293 | 112.61 | 7.4027 | 144.739 | 4.8785 | 179.995 | 8.0675 | 228.362 | 9.5912 | 297.952 | 9.1417
7.1416 | 21.3669 | 12.1939 | 10.9884 | 17.0634 | 14.2797 | 25.8144 | 6.8404 | 31.9744 | 7.6741 | 35.0205 | 15.1022 | 49.8458 | 10.0126 | 54.978 | 26.6249 | 72.0193 | 20.0623 | 110.049 | 8.6265 | 142.299 | 5.2743 | 176.431 | 9.0417 | 224.064 | 11.0877 | 292.344 | 10.2558
7.1416 | 24.9493 | 11.9644 | 12.7285 | 16.8767 | 15.8132 | 25.1771 | 7.3953 | 31.404 | 8.247 | 34.4991 | 18.0085 | 49.202 | 10.9118 | 54.5945 | 32.2929 | 71.374 | 22.6202 | 107.978 | 9.9328 | 139.9 | 5.725 | 173.978 | 10.0527 | 219.847 | 12.8307 | 286.842 | 11.6562
7.1202 | 30.3819 | 11.8335 | 14.025 | 16.6921 | 17.6696 | 24.7032 | 7.9553 | 30.7821 | 8.8982 | 34.1559 | 20.4881 | 48.276 | 12.4266 | 54.5945 | 39.839 | 70.4522 | 26.5982 | 105.84 | 11.5057 | 137.542 | 6.283 | 170.704 | 11.2779 | 215.494 | 15.2388 | 281.443 | 13.4616
7.106 | 37.0344 | 11.6923 | 15.7186 | 16.5425 | 19.8627 | 24.2383 | 8.5322 | 30.2028 | 9.7752 | 33.816 | 24.4308 | 47.32 | 14.3944 | 54.5945 | 49.1486 | 69.8209 | 30.5342 | 103.952 | 13.4886 | 135.088 | 7.0065 | 167.994 | 12.6271 | 210.804 | 18.2441 | 276.699 | 15.3919
7.0989 | 50.1916 | 11.5992 | 17.599 | 16.3943 | 22.3504 | 23.8536 | 9.252 | 29.7531 | 10.4734 | 33.6137 | 28.6698 | 46.6155 | 16.6406 | 54.5945 | 65.1602 | 69.1954 | 35.4048 | 101.996 | 16.3437 | 132.546 | 7.8213 | 165.825 | 14.0672 | 206.424 | 22.8476 | 272.307 | 17.4588
7.0705 | 63.9978 | 11.5182 | 19.9025 | 16.2637 | 25.377 | 23.4749 | 10.0728 | 29.2809 | 11.5172 | 33.5466 | 33.813 | 45.8756 | 19.7636 | 54.5945 | 85.5285 | 68.5069 | 43.5473 | 99.4777 | 21.3029 | 130.573 | 8.6871 | 163.519 | 15.5466 | 202.741 | 28.584 | 267.985 | 20.1025
7.0635 | 90.1838 | 11.4608 | 22.2167 | 16.1502 | 28.756 | 23.0792 | 11.0214 | 28.9895 | 12.377 | 33.4795 | 39.3245 | 45.4646 | 23.426 | 54.5945 | 123.575 | 67.8931 | 54.3176 | 98.0947 | 25.5809 | 128.5 | 9.7459 | 161.407 | 17.5288 | 199.125 | 34.9475 | 262.416 | 24.2604
7.0635 | 116.146 | 11.3809 | 25.6577 | 16.0536 | 32.1639 | 22.804 | 11.9274 | 28.7298 | 13.3945 | 33.3125 | 47.2214 | 45.0122 | 27.5181 | 54.5945 | 170.008 | 67.3521 | 67.8194 | 97.0216 | 30.1097 | 126.587 | 10.9227 | 159.482 | 19.7636 | 195.768 | 46.0095 | 258.768 | 27.8225
7.0564 | 163.179 | 11.3581 | 30.0796 | 15.9416 | 37.3318 | 22.5319 | 13.0507 | 28.3587 | 15.2998 | 33.1796 | 57.1025 | 44.6089 | 32.9123 | 54.5945 | 228.115 | 66.8823 | 88.398 | 95.7685 | 36.8497 | 124.952 | 12.1319 | 157.58 | 22.44 | 192.661 | 59.3142 | 255.17 | 32.1639
7.0564 | 213.332 | 11.3468 | 34.7037 | 15.8939 | 43.0278 | 22.2854 | 14.166 | 28.302 | 17.5463 | 33.0802 | 69.1895 | 44.3864 | 39.0892 | 54.5945 | 306.388 | 66.3493 | 117.313 | 95.0054 | 43.114 | 123.215 | 14.025 | 155.856 | 26.0455 | 189.792 | 75.6297 | 251.623 | 37.1456
7.0564 | 316.667 | 11.3468 | 40.8067 | 15.8621 | 49.4938 | 22.13 | 15.5466 | 28.302 | 20.3045 | 32.9811 | 84.6774 | 44.1651 | 49.4443 | 54.54 | 429.599 | 66.1506 | 161.394 | 93.8721 | 52.8706 | 121.38 | 16.1004 | 154.151 | 29.2783 | 187.341 | 94.9974 | 248.125 | 42.8989
7.0564 | 410.285 | 11.3468 | 49.6922 | 15.8621 | 57.6764 | 21.9976 | 17.096 | 28.302 | 24.2119 | 32.9152 | 98.1846 | 44.0768 | 60.2708 | 54.54 | 520.533 | 65.8865 | 210.366 | 93.0311 | 67.279 | 119.933 | 18.8374 | 152.312 | 34.3928 | 184.737 | 124.318 | 245.165 | 48.5138
7.0564 | 484.856 | 11.3468 | 59.9702 | 15.8463 | 69.1895 | 21.8879 | 18.7998 | 28.302 | 28.8712 | 32.9152 | 120.043 | 44.0768 | 76.7727 | 54.54 | 577.584 | 65.8865 | 270.657 | 92.0134 | 85.9572 | 118.384 | 22.0177 | 150.495 | 40.8476 | 182.716 | 159.309 | 242.24 | 56.365
7.0564 | 543.404 | 11.3468 | 74.7276 | 15.8463 | 82.1748 | 21.8879 | 21.091 | 28.302 | 35.0876 | 32.9152 | 146.914 | 44.0328 | 103.839 | 54.54 | 599.954 | 65.8865 | 332.57 | 91.3715 | 104.988 | 117.206 | 25.4533 | 148.551 | 53.616 | 181.26 | 207.027 | 239.112 | 64.5118
7.0564 | 599.954 | 11.3468 | 93.8642 | 15.8463 | 100.469 | 21.8879 | 23.7562 | 28.302 | 45.5517 | 32.9152 | 184.537 | 43.9888 | 130.954 |  |  | 65.8865 | 415.238 | 90.8249 | 126.703 | 116.155 | 29.6614 | 147.368 | 64.1259 | 179.995 | 258.747 | 236.023 | 76.696
|  | 11.3468 | 118.729 | 15.8463 | 118.137 | 21.8879 | 27.8782 | 28.302 | 59.0183 | 32.9152 | 229.488 | 43.8132 | 176.593 |  |  | 65.8865 | 491.692 | 90.3719 | 155.066 | 114.885 | 35.9039 | 146.193 | 76.4662 | 178.74 | 325.985 | 233.441 | 88.8411
|  | 11.3468 | 149.284 | 15.8463 | 138.082 | 21.8879 | 32.4872 | 28.302 | 74.7276 | 32.9152 | 271.741 | 43.7694 | 238.853 |  |  | 65.8865 | 566.713 | 89.8313 | 201.714 | 113.969 | 42.8561 | 144.884 | 98.1846 | 177.493 | 415.238 | 230.888 | 101.681
|  | 11.3354 | 202.32 | 15.8463 | 163.016 | 21.8879 | 38.6616 | 28.302 | 86.8211 | 32.9152 | 367.18 | 43.6819 | 305.775 |  |  | 65.8865 | 599.954 | 89.3833 | 255.66 | 113.061 | 52.0314 | 144.017 | 115.567 | 176.431 | 499.123 | 228.133 | 122.223
|  | 11.3354 | 259.265 | 15.8463 | 201.915 | 21.8879 | 45.8717 | 28.302 | 108.294 | 32.9152 | 453.435 | 43.6382 | 375.347 |  |  |  |  | 88.7598 | 336.249 | 112.497 | 61.2429 | 142.869 | 141.153 | 175.903 | 559.393 | 225.864 | 146.914
|  | 11.3354 | 319.85 | 15.8463 | 248.105 | 21.8879 | 56.8177 | 28.302 | 129.911 | 32.9152 | 529.458 | 43.464 | 473.832 |  |  |  |  | 88.3171 | 422.78 | 111.601 | 74.9521 | 142.299 | 170.861 | 175.2 | 599.954 | 223.616 | 178.19
|  | 11.3354 | 399.755 | 15.8463 | 306.081 | 21.8879 | 68.4326 | 28.302 | 164.654 | 32.9152 | 573.555 | 43.3772 | 550.514 |  |  |  |  | 87.8766 | 513.81 | 111.267 | 87.0819 | 141.873 | 216.34 |  |  | 221.391 | 209.108
|  | 11.3354 | 489.24 | 15.8463 | 366.813 | 21.8879 | 80.2261 | 28.302 | 205.789 | 32.9152 | 599.954 | 43.2905 | 599.954 |  |  |  |  | 87.701 | 578.74 | 110.712 | 106.043 | 141.731 | 278.621 |  |  | 220.067 | 251.602
|  | 11.3354 | 571.837 | 15.8463 | 436.092 | 21.8879 | 94.4291 | 28.302 | 248.353 | [8 empty] | 87.5258 | 599.954 | 110.27 | 127.593 | 141.306 | 359.909 |  |  | 218.75 | 299.122
|  | 11.3354 | 599.954 | 15.8463 | 504.139 | 21.8879 | 113.96 | 28.302 | 302.128 | [10 empty] | 109.939 | 173.964 | 141.306 | 461.21 |  |  | 217.659 | 362.437
|  |  |  | 15.8304 | 574.128 | 21.8879 | 135.077 | 28.302 | 377.606 | [10 empty] | 109.61 | 223.822 | 141.306 | 570.124 |  |  | 216.357 | 446.684
|  |  |  | 15.8304 | 599.954 | 21.8879 | 156.155 | 28.302 | 467.244 | [10 empty] | 109.391 | 282.549 | 141.165 | 599.954 |  |  | 215.494 | 553.827
[6 empty] | 21.8879 | 186.578 | 28.302 | 552.721 | [10 empty] | 108.954 | 347.878 |  |  |  |  | 214.633 | 599.954
[6 empty] | 21.8879 | 223.151 | 28.302 | 599.954 | [10 empty] | 108.519 | 424.899
[6 empty] | 21.8879 | 282.266 | [12 empty] | 108.194 | 488.751
[6 empty] | 21.8879 | 346.836 | [12 empty] | 107.87 | 569.554
[6 empty] | 21.8879 | 424.05 | [12 empty] | 107.762 | 599.954
[6 empty] | 21.8879 | 500.623
[6 empty] | 21.8879 | 565.581
[6 empty] | 21.8879 | 599.954